Schedule 6 -

CON Form Regarding

Architectural Submission

Contents:

- Schedule 6 - Architectural Submission

###### Architectural Submission

This Schedule applies to projects with construction, including Articles- 28, 36 & 40, i.e., Hospitals, D&TCs, RHCFs, CHHAs, LTHHCPs and Hospices.

|  | Example: - attachment in PDF format | Architecture Attachment A | Architecture_attach_A.pdf |
| --- | --- | --- | --- |
| A. | Architectural narrative that delineates the project scope of the work to meet the determined program needs, including functional space requirements. The following are suggestions to include in your narrative, should they pertain to your project: Intent/Purpose Describe existing physical plant conditions in area of work Identify spaces that are considered multi-function space Changes in capacity: beds / occupants Exceptions to the referenced standards, potential life safety compliance and/or functionality issues Innovative approaches and or alternate means of compliance Article 28 space adjacent to non-Article 28 space |  |  |
| B. | Schematic Design drawings that complement the architectural narrative. Submit electronic (via NYSE-CON) and hardcopy drawings using appropriate design guidelines submission requirements. |  |  |
| C. | Please select, complete, and submit the appropriate Certification Letter from the following link: Architect’s or Engineer’s Letter of Certification |  |  |
| D. | Projects involving the following facility types: Diagnostic Radiology, Computed Tomography (CT) Facilities, Interventional Imaging, Radiation Therapy Facilities, Proton Therapy, Nuclear Medicine and/or Magnetic Imaging Facilities | Yes No |  |  |
|  | If yes, provide Physicist’s Report and respective drawings must be attached for Design Development. |  |  |
| E. | Flood zone location? | Yes No |  |  |
|  | If yes, please provide a FEMA BFE Certificate from the FEMA website link www.fema.gov. |  |  |

Instructions: Attachments should be saved as PDF documents.  The PDF document should be assigned a unique name, so it will not be confused with any other attachment.  The title of the attachment, and name of the attached PDF file should be entered in the table below.