## Page 1
NEW YORK STATE DEPARTMENT OF HEALTH | [6 empty] | Water System Operation Report
Bureau of Water Supply Protection
Filtration Component
Instructions: Complete pages 1 and 2 of this form and submit to your local health department within 10 days of the close of the reporting month.
Complete page 3 if your system utilizes conventional or direct filtration and can answer “YES” to any of the four questions on page 3.
Public Water System Name |  |  |  |  | Reporting Month/Year |  |  | Type of Filtration
Public Water System ID Number |  |  |  |  | Town, Village, or City |  | County
Date | Entry Point Chlorine Residual (mg/L) | [6 empty] | Distribution System Turbidity Results
| 0 | 400 | 400 | 800 | 1200 | 1600 | 2000 | Sample Location | (NTU)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
[8 empty] | Monthly Turbidity Average | #DIV/0!
Location of entry point
Population served
Entry point disinfection monitoring: | [7 empty] | If Grab, how many samples per day?
Monitoring results:
Did the entry point residual fall below 0.2 mg/L for more than 4 hours?..............……………..…………..
Did the monthly average of the distribution system turbidity results exceed 5 NTU?………………
Reported by (print name) | [6 empty] | Title
NYSDOH Operator Certification Number | [6 empty] | Operator Grade Level
Signature | [6 empty] | Date
DOH-4303 (1/05) Page 1 of 3

## Page 2
COMPOSITE FILTER EFFLUENT MONITORING
Results (NTU)
Date | 0 | 400 | 800 | 1200 | 1600 | 2000
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Required monitoring frequency:
If continuous or 4 hour grab, was the composite effluent monitored and recorded every 4 hours?
If continuous, did equipment failure require grab sampling for more than 5 working days?
Total number of analyses |  |  | Number of analyses that exceeded the performance standard1
Percentage of analysis that exceed the performance standard 1 |  |  |  |  | %
Did any analyses exceed the maximum turbidity standard 2 ? …………...…….…………..…………………
INDIVIDUAL FILTER EFFLUENT TURBIDITY MONITORING (Complete if filtration type is conventional or direct)
Was individual filter effluent turbidity monitoring conducted during the month?............................................……
If system has only 2 filters, was the composite effluent monitored every 15 minutes in lieu of individual filter?.
Did failure of continuous monitoring equipment require grab sampling for more than 5 working days?.........………
Per the instructions on the top pages 1 and 3, does page 3 need to be completed and submitted?....................……
COMMENTS:
1 Performance standards: 0.3 NTU for conventional and direct filtration; 1.0 NTU for slow sand and D.E.; 1.0 NTU or value set by the Department for alternative filtration.
2 Maximum allowable turbidity standards: 1 NTU for conventional and direct filtration; 5 NTU for slow sand and D.E.; 5 NTU or value set by the Department for alternative filtration.
DOH-4303 (1/05) Page 2 of 3

## Page 3
INDIVIDUAL FILTER EFFLUENT TURBIDITY MONITORING
Instructions: Complete this page and attach it to your operation report if you utilize conventional or direct filtration and can answer “YES” to any of the four questions below. If your system has only 2 filters, and does not monitor each filter separately, use the 15 minute composite readings to answer the questions.
1. Did any filter(s) exceed 1.0 NTU in two consecutive readings taken 15 minutes apart?….…….….….…
If “YES,” report the filter number(s), corresponding date(s), and the turbidity value(s) which exceeded 1.0 NTU during the month (only for filters that had two consecutive readings that exceed 1.0 NTU), and the reason for the abnormal filter performance. If an obvious reason cannot be identified, a filter profile must be submitted within 7 days of the exceeded value.
Filter Number |  |  | Filter Number |  |  | Filter Number
Date | Time | (NTU) | Date | Time | (NTU) | Date | Time | (NTU)
2. Did any filter exceed 1.0 NTU in two consecutive readings taken 15 minutes apart at any time in each of the last 3
consecutive months?……...…………………….………...……………………..……....…..……..……….……
If “YES,” a self-assessment of the filter must be conducted by the system. The system must conduct the self-assessment within 14 days of the exceeded value and submit the self-assessment to the Department. Report the filter number, the date the self-assessment was triggered, and the date it was completed.
Filter # |  | Trigger date |  | Completion date
3. Did any filter exceed 2.0 NTU in two consecutive readings taken 15 minutes apart at any time in each of the last 2
consecutive months?……...…………...…….…….……..………………….…….…….....…..…………....……
If “YES,” a Comprehensive Performance Evaluation (CPE) is required. A copy of the CPE report must be submitted to the Department within 120 days of the trigger date. Report the filter number that triggered the CPE, and the date the CPE was triggered.
Filter # |  | Trigger date
4. If the system serves > 10,000 persons, did any filter exceed 0.5 NTU in each of the first two consecutive 15-minute readings
following the first 4 hours of continuous filter operation?..............................................................................
If “YES,” report the filter number, the date on which the exceeded value occurred, and the turbidities of the 2 consecutive readings. Report the obvious reason for the abnormal filter performance, or submit a filter profile within 7 days of the exceeded value.
Filter # |  | Date |  | Consecutive Readings |  |  | NTU and |  | NTU
Reason for abnormal performance:
Public Water System ID #
Reported by (print name) |  |  |  |  | Title
NYSDOH Operator Certification Number |  |  |  |  | Operator Grade Level
Signature |  |  |  |  | Date
DOH-4303 (1/05) Page 3 of 3